Elburn and Countryside Fire Protection District 200 E. Route 38, Elburn, IL 60119

CRR Bureau (630) 365-6855

TECHNICAL SUBMITTAL for SPRINKLER SYSTEMS

Project name	     ________________________________________________________________

Project address	     ________________________________________________________________

Owner		     ________________________________________________________________

Occupant	     ________________________________________________________________

Codes and Standards Editions REFERENCED:									NFPA 13 ________	NFPA 13R ______	NFPA 13D ______	NFPA 14 ________	NFPA 20 ________	NFPA 72 ________

NFPA 101-2015 	IFC ________	IBC _________       	Local amendments - YES

Water flow test information

DATE:      	Location      		Witness

Static pressure      psi		Residual pressure      psi	Flow       GPM

Source      		Seasonal or local adjustment

Water Quality investigation (MIC or other)      	Results

Building footprint      square feet	Building height

Number of stories      		Floor to floor height

Water Supply			Domestic in same connection required  Yes 	 No 	Size_________

Type of pipe which can be used _____________________________________________________

Risers’      ___________________	Bulk main      _____________________

Cross main      _________________	Branch lines      _____________________

Type of fittings which can be used      ________________________________________

Backflow device/s required ________________________________     __________

Fire department connection (5” STORZ on 30* angle)	  Type

Fire Pump and controller    Size          g.p.m. @     psi	   Type of drive     	Voltage

Location of service      ______________	Generator required  Yes 	 No

Water storage tank required  Yes 	 No 	Type of tank      ____________

Location of tank      __________	Size of tank      _______________

Standpipes required  Yes 	 No  Required valves 1 ½      2 ½      Class       Type

Location/s      _____________________1 ½ “hose       Length of hose       Other      ____

## ARCHITECT OR P.E. STAMP REQUIRED

## N.I.C.E.T. WILL BE REJECTED

## STATE OF ILLINOIS SB 1384(8-24-2010) PEP ACT 225 ILCS 325/3 Ch. 111, par. 5203(d)

Required flows:	 Top most outlet      	 Most remote      	Total flow

Architect or P. E.

Address

Contact #

Architect or P. E. Signature, Seal and Date

Area # 1			Type of system

Description of use of area or hazard ___________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

Hazard classification ___________________________ Commodity _______________________________________________

Design criteria ________________ g.p.m over ____________________________ square footage

Area per sprinkler _____________ square foot	Stand pipe flow ____________________

Other water flow

Inside Hose ____________ g.p.m 	Outside hydrants _______________	Special _________________ g.p.m

In rack or special sprinklers ________ g.p.m		Total flow required ________________________

Fire pump required ______________	 Submit graph sheet	______________ g.p.m at _______________ psi

Area # 2			Type of system_________________________________________________________________

Description of use of area or hazard ___________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

Hazard classification ___________________________ Commodity _______________________________________________

Design criteria ________________ g.p.m over ____________________________ square footage

Area per sprinkler _____________ square foot	Stand pipe flow ____________________

Other water flow

Inside Hose ____________ g.p.m 	Outside hydrants _______________	Special _________________ g.p.m

In rack or special sprinklers ________ g.p.m		Total flow required ________________________

Fire pump required ______________	 Submit graph sheet	______________ g.p.m at _______________ psi

Area # 3			Type of system_________________________________________________________________

Description of use of area or hazard ___________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

________________________________________________________________________________________________________

Hazard classification ___________________________ Commodity _______________________________________________

Design criteria ________________ g.p.m over ____________________________ square footage

Area per sprinkler _____________ square foot	Stand pipe flow ____________________

Other water flow

Inside Hose ____________ g.p.m 	Outside hydrants _______________	Special _________________ g.p.m

In rack or special sprinklers ________ g.p.m		Total flow required ________________________

Fire pump required ______________	 Submit graph sheet	______________ g.p.m at _______________ psi

Storage areas	#1		Type of system:

Description of use of area or hazard:

Type of storage and maximum height:	Pallet:      	Bulk

Shelf      	Bin box      	Rack

Minimum aisles width      	Encapsulated  Yes 	 No

Rack type Single row  Yes 	 No Double row Yes 	 No Multiple Row  Yes 	 No Shelf type _______

Flue spaces 	Longitudinal required  Yes 	 No - size     	Transverse required  Yes 	 No - size

Ceiling design criteria     g.p.m over       square feet

Area per sprinkler       square feet				Stand pipe flow

Other water flow

Hose     g.p.m	Outside hydrants      		Special       g.p.m

In rack or special sprinklers       g.p.m		Number of levels

Location      	Type      		Temp. rating      	Orifice size

Required accommodations for building structure

Storage areas	#2		Type of system:

Description of use of area or hazard:

Type of storage and maximum height:	Pallet:      	Bulk

Shelf      	Bin box      	Rack

Minimum aisles width      	Encapsulated  Yes 	 No

Rack type Single row  Yes 	 No Double row Yes 	 No Multiple Row  Yes 	 No Shelf type _______

Flue spaces 	Longitudinal required  Yes 	 No - size     	Transverse required  Yes 	 No - size

Ceiling design criteria     g.p.m over       square feet

Area per sprinkler       square feet				Stand pipe flow

Other water flow

Hose     g.p.m	Outside hydrants      		Special       g.p.m

In rack or special sprinklers       g.p.m		Number of levels

Location      	Type      		Temp. rating      	Orifice size

Required accommodations for building structure